# Supplementary Material

Table S1. PLSR and PCR models for calibration, cross validation, and prediction for quantitative analysis of LC-PUFAs and protein content in PIFP using normal, 1st derivative and 2nd derivative spectra.

| Training set | Regression model | *Factors | Spectral filters | Calibration |  |  | Cross validation |  |  |  | Prediction |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | cR2 | dRMSEC | eRE% | cR2 | fRMSECV | cR2 | gRMSEP | eRE% | bias | hSEP | iRPD |
| LC-PUFAs (AA and DHA) | aPCR | 4 | Normal | 0.989 | 0.218 | 4.3 | 0.972 | 0.231 | 0.981 | 0.451 | 5.9 | -0.03 | 0.19 | 12.9 |
|  |  | 3 | 1st Derivative | 0.975 | 0.438 | 7.9 | 0.966 | 0.462 | 0.979 | 0.241 | 8.7 | 0.06 | 0.35 | 6.2 |
|  |  | 3 | 2nd Derivative | 0.967 | 0.695 | 11.8 | 0.952 | 0.701 | 0.951 | 0.199 | 12.6 | -0.12 | 0.71 | 4.3 |
|  | bPLSR | 4 | Normal | 0.992 | 0.204 | 4.1 | 0.981 | 0.217 | 0.983 | 0.438 | 5.1 | -0.03 | 0.19 | 13.2 |
|  |  | 3 | 1st Derivative | 0.978 | 0.419 | 7.4 | 0.968 | 0.438 | 0.977 | 0.222 | 8.3 | 0.06 | 0.31 | 7.1 |
|  |  | 3 | 2nd Derivative | 0.969 | 0.582 | 11.1 | 0.959 | 0.695 | 0.957 | 0.187 | 12.2 | -0.11 | 0.61 | 4.6 |
| Protein | aPCR | 4 | Normal | 0.984 | 0.163 | 4.9 | 0.984 | 0.176 | 0.980 | 0.596 | 6.4 | -0.02 | 0.16 | 13.5 |
|  |  | 3 | 1st Derivative | 0.971 | 0.382 | 8.8 | 0.970 | 0.410 | 0.973 | 0.363 | 9.2 | 0.04 | 0.37 | 6.7 |
|  |  | 3 | 2nd Derivative | 0.961 | 0.602 | 12.9 | 0.961 | 0.691 | 0.944 | 0.218 | 13.1 | -0.10 | 0.62 | 4.1 |
|  | bPLSR | 4 | Normal | 0.995 | 0.142 | 4.5 | 0.984 | 0.163 | 0.981 | 0.545 | 5.9 | -0.02 | 0.16 | 13.8 |
|  |  | 3 | 1st Derivative | 0.981 | 0.349 | 8.6 | 0.975 | 0.397 | 0.979 | 0.329 | 8.7 | 0.04 | 0.31 | 7.2 |
|  |  | 3 | 2nd Derivative | 0.969 | 0.522 | 11.5 | 0.965 | 0.686 | 0.951 | 0.203 | 12.5 | -0.10 | 0.56 | 4.3 |

*Optimal number of factors; [a] PCR: Principal component regression; [b] PLSR: Partial least square regression; [c] R2: Coefficient of determination; [d] RMSEC: Root mean square error of calibration; [e] RE%: Relative prediction error; [f] RMSECV: Root mean square error of cross validation; [g] RMSEP: Root mean square error of prediction; [h] SEP: Standard error of prediction; [i] RPD: Residual predictive deviation