| A) Ozanimod |  |
| --- | --- |
| B) Bromo impurity | C) Hydroxy amide impurity |

Figure S1: Molecular structure of Ozanimod and studied impurities

A 							B

Figure S2: Acid (A) and Base (B) degradation chromatogram that resolve DP 1, 2 and 3 along with known impurities and standard Ozanimod in the proposed method

Table S1. Forced degradation conditions for Ozanimod

| Condition | Stressor | Conditions | Duration | % degradation | DPs |
| --- | --- | --- | --- | --- | --- |
| Acid | HCl (2N) | 8 hours at 80°C | 8 days | 15.98 | DP 1 & DP 3 |
| Base | NaOH (3 N) | 8 hours at 80°C | 8 hours | 11.21 | DP 2 |
| Oxidative | H2O2 (30%) | Room temperature | 3 days | 4.52 | --- |
| Thermal | --- | 80°C | 2 days | 2.16 | --- |
| UV | 200 W h/m2 | Room temperature | 3 days | 5.77 | --- |

Table S2. Elemental composition study results of Ozanimod, impurities, and its DPs.

| Compound | MF | m/z Calculated | m/z observed | Error in ppm | Fragmentation (m+1) |
| --- | --- | --- | --- | --- | --- |
| DP 1 | C18H15N3O4 | 338.3291 | 338.3294 | 0.89 | 322.3062 265.2980 210.1782 159.2191 183.1528 |
| DP 2 | C21H22N4O3 | 379.4240 | 379.4243 | 0.79 | 338.3520 293.3114 251.2747 175.2218 92.1299 |
| DP 3 | C21H20N4O2 | 361.4089 | 361.4091 | 0.55 | 320.3367 253.2906 175.2218 92.1299 |

Table S3. Precision and ruggedness results of Ozanimod and its impurities

| S No | Analyte | % Assay | % RSD in Intraday precision | % RSD in Interday precision |  | % RSD in Ruggedness |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Day 1 | Day 2 |  |
| 1 | Ozanimod | 99.30 | 0.89 | 0.65 | 1.27 | 0.29 |
| 2 | Bromo Impurity | 98.76 | 0.64 | 0.38 | 0.23 | 0.87 |
| 3 | Hydroxy Amide Impurity | 98.80 | 0.49 | 0.41 | 0.68 | 0.91 |

Figure S3: Degradation pathway for DP 1

Figure S4: Mass spectrum of DP 1

Figure S5: Mass spectrum of DP 2

Figure S6: Degradation pathway for DP 2

Figure S7: Degradation pathway for DP 3

Figure S8: Mass spectrum of DP 3

Table S4. Robustness results of Ozanimod

| Condition changed | Resolution between Ozanimod and hydroxy amide impurity | Tailing factor | Theoretical plates | % Assay |
| --- | --- | --- | --- | --- |
| ethanol and orthophosphoric acid in 75:25 (v/v) | 11.21 | 0.93 | 17632 | 98.08 |
| ethanol and orthophosphoric acid in 65:35 (v/v) | 11.08 | 1.08 | 17982 | 99.55 |
| 0.75mL/min flow rate | 11.16 | 1.02 | 17092 | 98.73 |
| 0.65mL/min flow rate | 11.04 | 0.99 | 17883 | 98.23 |
| 254 nm wavelength | 11.38 | 0.93 | 17634 | 100.93 |
| 244 nm wavelength | 11.29 | 1.01 | 17892 | 98.44 |

Table S5. Solution stability of Ozanimod

| Time Interval | Standard | Sample |
| --- | --- | --- |
| 0 hour (Initial) | 98.34 | 99.14 |
| 24 hours (after) | 98.13 | 98.99 |
| 48 hours (after) | 98.07 | 99.01 |
| % difference | 0.27 | 0.13 |