Figure S1. Chemical structure of SLP.

Table S1. Chromatographic system suitability parameters

| Retention factora,* (1-10)b | Resolutiona,* (>2)b | HETPa,* (<1 mm)b | Tailing factora,* (<2 mm)b | Asymmetry factora,* (<2)b | Retention time (min) |
| --- | --- | --- | --- | --- | --- |
| 8.44 | 3.10 | 0.78 | 1.3 | 0.82 | 6.40 |

*mean values of the parameters of all the points in calibration study are mentioned

aAverage values

bRecommended value

(a)

(b)

(c)

(d)

(e)

Figure S2. a: blank (aqueous medium), b: standard solution (10 ng/mL standard selexipag solution), c: blank plasma sample, d: 10 ng/mL selexipag spiked to plasma, e: plasma sample of volunteer after tmax.

Figure S4: Chromatograms illustrating the effect of NBD-Cl concentration on derivatization efficiency (NBD-Cl concentration 0.020 mmol).

Figure S5: Chromatograms illustrating the effect of pH on derivatization efficiency (pH=8.0).

Figure S6: Chromatograms illustrating the effect of temperature on derivatization efficiency (Temperature=75 °C).

Figure S7: Effect on NBD-Cl concentration on derivatization reaction.

Figure S8: Effect of pH on derivatization reaction.

Figure S9: Effect of temperature on derivatization reaction.