. HCl

Figure S1. Triflupromazine hydrochloride structure [4].

Figure S2. CAN molecule structure [13].

Figure S3. The spectrum of the colored product (C).

Figure S4. The calibration curve of the colored product.

1	     0.8	          0.6	   0.4	         0.2	   0

Ve/Vd+Ve

Figure S2. Job’s plot illustrating the relationship between absorbance and mole fraction of the TFM.HCl–CAN system.

Table S1. Stability constants (β), dissociation factors (α), and absorbance values (Am, As) for the TFM.HCl–CAN complex at various temperatures.

| β (L·mol⁻¹) | α | Am | As | T (K) | t (°C) |
| --- | --- | --- | --- | --- | --- |
| 1.40 × 10⁶ | 0.080 | 0.556 | 0.511 | 288 | 15 |
| 1.53 × 10⁶ | 0.077 | 0.593 | 0.547 | 293 | 20 |
| 1.54 × 10⁶ | 0.077 | 0.581 | 0.536 | 298 | 25 |
| 2.01 × 10⁶ | 0.068 | 0.558 | 0.52 | 303 | 30 |
| 2.17 × 10⁶ | 0.065 | 0.533 | 0.498 | 308 | 35 |
| 3.86 × 10⁶ | 0.049 | 0.504 | 0.479 | 313 | 40 |
| 2.52 × 10⁶ | 0.061 | 0.459 | 0.431 | 318 | 45 |
| 3.75 × 10⁶ | 0.050 | 0.437 | 0.415 | 323 | 50 |