Table S1. Characteristics of sildenafil tablet samples.

| Sample No. | Product Name | Dosage form (mg) | Place of Manufacture | Expiration Date | Lot No. |
| --- | --- | --- | --- | --- | --- |
| 1 | FAST 4S | 100 | India | Jul-24 | SD 069 |
| 2 | NIZAGRA | 100 | India | May-25 | 645F |
| 3 | BLACK COBRA | 100 | India | Oct-24 | T1902045 |
| 4 | PUNERGY | 150 | India | Jan-25 | 3703 |
| 5 | PUREGREY | 100 | India | Apr-25 | 3661 |
| 6 | SIL FIX | 100 | India | Aug-24 | 6098 |
| 7 | SUPERGRA | 100 | India | Mar-26 | CB901 |
| 8 | VEGERA | 100 | India | Mar-22 | FST-01 |
| 9 | YOGA 100 | 100 | India | Jul-25 | PUG-01 |
| 10 | VIAGRA | 100 | Morocco | Jan-26 | FT3744 |
| 11 | VIGOREX | 100 | Morocco | Nov-26 | 29 |

Figure S1. UV spectra of sildenafil and impurities A–D.

Table S2. System Suitability Parameters.

| Injection | Retention time (min) | Area | Symmetry Factor | Theoretical plates |
| --- | --- | --- | --- | --- |
| 1 | 4.554 | 18826845 | 1.4 | 10475 |
| 2 | 4.553 | 18874524 | 1.4 | 10559 |
| 3 | 4.554 | 18865150 | 1.4 | 10569 |
| 4 | 4.553 | 18868737 | 1.4 | 10527 |
| 5 | 4.554 | 18894787 | 1.4 | 10500 |
| 6 | 4.553 | 18926331 | 1.4 | 10479 |
| %RSD | 0.01 | 0.2 |  |  |

Figure S2. Representative chromatogram demonstrating system suitability.

Figure S3. HPLC chromatograms for sildenafil citrate: (a) Blank, (b) Placebo, (c) Mixture of sildenafil citrate and related compounds.