Figure S1. Calibration curve of the IP-CPE method for the determination of the DAP-SUB azo dye.

Table S1. Accuracy and precision of the IP-CPE method for the determination of the DAP-SUB azo dye.

| Concentration of DAP (mg /L) |  | E%=Cfound-CtakenCtaken*100 | Rec.*% ± SD | RSD%*=SDmean*100 |
| --- | --- | --- | --- | --- |
| Ctaken (mg/L) | Cfound (mg/L) |  |  |  |
| 0.5 | 0.502 | 0.325 | 100.325± 0.704 | 0.702 |
| 2 | 2.0123 | 0.609 | 100.609± 3.049 | 3.030 |
| 4 | 4.065 | 1.626 | 101.626± 3.507 | 3.451 |

* n=3, E% is relative error, Rec%= recovery, and RSD is relative standard deviation.

Table S2. Analysis of dapsone (DAP) in commercial tablet samples using the IP-CPE method.

| Tablet of DAP | Concentration of DAP (mg /L) |  | Mean of Rec.%±SD | RSD% |
| --- | --- | --- | --- | --- |
|  | Ctaken | Mean of Cfound±SD |  |  |
| USA (500 mg) | 0.5 | 0.497±0.0008 | 99.369±0.160 | 0.161 |
|  | 2 | 2.010±0.053 | 100.459±2.670 | 2.658 |
|  | 4 | 4.073±0.125 | 101.849±3.130 | 3.073 |
| Indian (200 mg) | 0.5 | 0.499±0.005 | 99.918±0.985 | 0.986 |
|  | 2 | 2.067±0.027 | 103.333±1.372 | 1.327 |
|  | 4 | 3.890±0.044 | 97.256±1.117 | 1.149 |