Figure S1. Calibration curves of phenylephrine hydrochloride (PHE·HCl) obtained using methods (A) and (B).

Table S1. Effect of TMA amount on absorption.

| Absorbance/µg phenylephrine hydrochloride/mL |  |  |  |  |  | ml of T.M.A (400 µg/mL) |
| --- | --- | --- | --- | --- | --- | --- |
| R2 | 10 | 7 | 5 | 4 | 2 |  |
| 0.8530 | 0.444 | 0.414 | 0.353 | 0.271 | 0.134 | 0.25 |
| 0.9399 | 0.635 | 0.556 | 0.424 | 0.351 | 0.173 | 0.5 |
| 0.9842 | 0.710 | 0.573 | 0.420 | 0.327 | 0.177 | 0.6 |
| 0.9973 | 0.796 | 0.588 | 0.430 | 0.352 | 0.176 | 0.75 |
| 0.9985 | 0.810 | 0.573 | 0.432 | 0.343 | 0.170 | 1 |
| 0.9989 | 0.903 | 0.652 | 0.457 | 0.378 | 0.181 | 1.15 |
| 0.9998 | 0.936 | 0.650 | 0.473 | 0.385 | 0.200 | 1.25 |
| 0.9971 | 0.926 | 0.680 | 0.468 | 0.405 | 0.198 | 1.5 |

Figure S2. (A) Continuous variation (Job’s) plot and (B) mole-ratio plot for the reaction between phenylephrine hydrochloride (PHE·HCl) and diazotized 3,4,5-trimethoxyaniline (TMA).

Table S2. Analytical Eco-scale penalty points for the proposed methods compared with a literature HPLC method.

| Reagents / parameters | Penalty points (proposed methods) | Penalty points (literature HPLC method [44]) |
| --- | --- | --- |
| Hydrochloric acid | 4 | — |
| Phosphoric acid | — | — |
| Sodium hydroxide | 2 | 2 |
| Acetonitrile | — | 8 |
| 3,4,5-Trimethoxyaniline | 0 | — |
| Instrument energy | 0 | 2 |
| Oven | — | — |
| Wastes | 3 | 5 |
| Total penalty points | 9 | 17 |
| Eco-scale score | 91 | 83 |